{"text_format":"1","workbook":"xlsx","n_sheets":6,"sheets":["DCC Manual","DCC-XML","DCC Elements","Table1","Lists DCC","Lists SI"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":84,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"DCC Manual","index":0,"n_rows":85,"n_cols":2,"rows_kept":85,"cut":false,"hidden":false,"merged":[]}
[]
[null,"Copyright note"]
[null,"Copyright 2021 Physikalisch-Technische Bundesanstalt, Bundesallee 100, 38116 Braunschweig, GERMANY"]
[null,"Licensed under the EUPL, Version 1.2 or – as soon they will be approved by the European Commission - subsequent versions of the EUPL (the \"Licence\"). You may not use this work except in compliance with the Licence. "]
[null,"You may obtain a copy of the Licence at:"]
[null,"https://joinup.ec.europa.eu/software/page/eupl"]
[null,"Unless required by applicable law or agreed to in writing, software distributed under the Licence is distributed on an \"AS IS\" basis, WITHOUT WARRANTIES OR CONDITIONS OF ANY KIND, either express or implied."]
[null,"See the Licence for the specific language governing permissions and limitations under the Licence."]
[]
[null,"Instruction on how to use this tool"]
[]
[null,"Important note"]
[null,"This file is a template and should not be changed or renamed."]
[null,"The supported versions of the DCC and the D-SI are indicated in the file name:"]
[" ","DCC 3.0, D-SI 2.0, tool version 1"]
[]
[null,"Prerequisites"]
[null,"This tool can be used if:"]
[null,"- the data for the Digital Calibration Certificate (DCC) is available in a Microsoft Excel (in short, Excel) file with macros (*.xlsm)"]
[null,"- any possible passwords for opening the file are (at least temporarily) disabled and"]
[null,"- the use of macros in Excel is enabled."]
[]
[null,"General idea behind the tool"]
[null,"DCCs are machine-readable text files that carry the information about the calibration of a measuring device. They are programmed in XML using schemas describing the structure of the information. The PTB, the national metrology institute of Germany, develops such schemas in the form of schema definitions as XSD files. These definitions as well are generated using XML. Detailed information can be fount at"]
[null,"https://www.ptb.de/dcc"]
[null,"With this Excel tool, a DCC can be built using some kind of building blocks. For this, tables for complex elements (elements containing other elements) and colours coding whether the elements are mandatory, optional, additional, choice or content elements, are defined. Macros guide the user through the structure and allow to select or deselect elements and attributes. Finally, the content elements can be filled with data, links to data or formulas. At the end, the DCC xml file is generated programmatically."]
[]
[null,"How to prepare the tool for use"]
[null,"The user should know the path to and the name of the file this tool should be copied to (target file)."]
[null,"In the case that the target file already contains worksheets, names or macros from this current file, it must first be prepared:"]
[null,"- the worksheets 'DCC-XML' and 'DCC Elements' must be removed"]
[null,"- the names 'Counter', 'Reset' and 'XML' must be removed"]
[null,"- the names used in this workbook and starting with 'dcc_', 'no_', 'si_', and 'xs_' must be removed "]
[null,"- the following modules must be removed: 'DCC' "]
[null,"- the following forms must be removed: 'frmDataDCC', 'frmDialog', 'frmDialogInputOKCancel', 'frmDialogOK', 'frmDialogYesNo', 'frmDialogYesNoCancel'  "]
[null,"ATTENTION"]
[null,"- in 'Excel options | Trust center | Macro settings | Developer Macro settings' the 'Trust access to the VBA project object model' must be TEMPORARILY activated. "]
[null,"The current file contains a macro \"preparationForUse\" which can be run with the shortcut"]
[null,"CTRL + SHIFT + P"]
[null,"When the file select dialog appears, select the file intended to use with this tool."]
[null,"When the macro finishes with success, the target file should contain the worksheets and macros provided with this current file."]
[null,"Do not forget to DEACTIVATE the 'Trust access to the VBA project object model' setting in 'Excel options | Trust center | Macro settings | Developer Macro settings'."]
[]
[null,"How to use the tool"]
[null,"The DCC must be generated on the DCC-XML worksheet (table)."]
[null,"This worksheet has three buttons:"]
[]
["RUN","A click on this button in cell A1 activates the worksheet. The button gets the new text STOP and a green background colour."]
["STOP","A click on this button in cell A1 deactivates the worksheet. The button returns to the former text RUN and the grey background colour."]
[]
["XML","A click on this button starts the compilation of the DCC and saves it in the working file's directory with the same file name and the extension \".xml\"."]
[]
["RESET","A click on this button resets the worksheet to its initial state. All inputs are deleted and changes are undone."]
[null,"The first row of the worksheet contains in the columns C to K a legend. All cells in the first row, except A1 (RUN|STOP) and N1 (XML), are never active."]
[null,"In cell L1 there is a counter of content cells."]
[]
[null,"These are the rules to follow:"]
[null,"1. After activating the worksheet with 'RUN', all cells with a background colour are active and a click on such a cell starts the corresponding action."]
[null,"2. The work can be interrupted at any time. The current state can be saved in the file. The file can be closed and the work can be continued later."]
[null,"3. When the work was interrupted or is finshed, it is advised to deactivate the worksheet with 'STOP'. "]
[null,"4. In active mode, all cells with a background colour must be clicked and processed. The related action follows from the background colour. "]
[null,"5. In the case of optional, additional or choice elements, it must be decided if the given element shall be used in this DCC or not."]
[null,"6. If the element comes with attributes, it must be decided if the attributes shall be used in this DCC."]
[null,"7. For attributes that are selected for use in this DCC, it is possible to insert their values or use a pre-defined placeholder for later use."]
[null,"8. If a content cell with gold background colour (see K1) is clicked, a dialog asks to input the data. Here, the data for this DCC must be entered."]
[null,"9. Content cells may contain a fixed text, a fixed value or a formula. The data must be inserted and the appropriate button must be clicked."]
[null,"10. A content cell may contain the address of another cell. For this, the button 'Select cell' must be clicked first and the cell selected then."]
[null,"11. For every inserted content cell the counter in L1 increases by one. For each content cell that has got content, the counter decreases by one."]
[null,"12. At the end, all cells with background colour should be replaced by cells without any background colour and the counter should show '0'."]
[null,"13. If placeholders were used for attributes or in content cells, then these must finally be replaced by the correct values or formulas."]
[null,"14. With a click on 'XML' the DCC xml file is generated. This can be done at any time and an existing file is overwritten without warning. "]
[null,"15. If the work is succesfully finished, then the generated xml file shoud be valid. A check against the schema is not included."]
[null,"16. This work needs to be done only once for a given Excel file. This file can then serve as template for many measurements and DCCs."]
[]
[null,"Special functions"]
[null,"1. Sometimes the sheet does not react on clicks. In this case it is often helpful to click on STOP and start again with RUN."]
[null,"2. If an element was inserted by mistake, it can be deleted easily. First of all, the starting tag '<…>' of the element must be selected. Then the shortcut CTRL + SHIFT + D can be used to delete all rows that belong to this element. Be aware that all its child elements are deleted too. \nCAUTION: The deletion of necessary elements can corrupt the validity of the generated XML! "]
[null,"3. To avoid unwanted clicks on cells with background color while answering dialogs, the window size can be changed. Dialogs always appear centred."]
[]
[null,"Further development"]
[null,"Depending on the extent of future DCC/D-SI schema updates, small adjustments migth be sufficient, or it might be necessary to start over."]
[]
[null,"Contact person:"]
[null,"Dr. Dirk Röske, PTB, Braunschweig, Germany"]
[null,"dirk.roeske@ptb.de"]

{"sheet":"DCC-XML","index":1,"n_rows":34,"n_cols":14,"rows_kept":34,"cut":false,"hidden":false,"merged":[]}
["RUN",null,"Mandatory \nelement 1","Optional \nelement 0,1","Opt-Add \nelement 0..n","Additional\nelement 1..n","Choice \nelement 1..n","Choice \nelement 1","Choice \nelement 1,n","Opt-Choice element 1","Place for Content",0,null,"XML"]
[null,"<?xml version=\"1.0\" encoding=\"UTF-8\"?>"]
[null,"<dcc:digitalCalibrationCertificate"]
[null,null,"xmlns:xsi=\"http://www.w3.org/2001/XMLSchema-instance\""]
[null,null,"xsi:schemaLocation=\"https://ptb.de/dcc https://ptb.de/dcc/v3.0.0/dcc.xsd\""]
[null,null,"xmlns:dcc=\"https://ptb.de/dcc\""]
[null,null,"xmlns:si=\"https://ptb.de/si\""]
[null,null,"schemaVersion=\"3.0.0\">"]
[]
[null,null,"<!--"]
[null,null,{"$f":"\"Copyright (c) 2019 - \" & YEAR(TODAY()) & \" Physikalisch-Technische Bundesanstalt, alle Rechte vorbehalten - all rights reserved.\"","v":"Copyright (c) 2019 - 2022 Physikalisch-Technische Bundesanstalt, alle Rechte vorbehalten - all rights reserved."}]
[]
[null,null,"Diese Software wurde in der Physikalisch-Technischen Bundesanstalt entwickelt. Die Software wird unentgeltlich,"]
[null,null,"wie sie ist, auf eigenes Risiko des Nutzers zur Verfügung gestellt. Die PTB übernimmt keine Haftung,"]
[null,null,"egal aus welchem Rechtsgrund, für die Nutzung der Software durch Andere und garantiert weder ausdrücklich noch"]
[null,null,"konkludent für die Qualität, Sicherheit, Zuverlässigkeit, Tauglichkeit, oder andere Merkmale der Software."]
[null,null,"Soweit gesetzlich zulässig lehnt die PTB jede Haftung für direkte Schäden, indirekte Schäden oder für"]
[null,null,"Folgeschäden ab, die durch die Nutzung der Software entstehen."]
[]
[null,null,"This software was developed at the Physikalisch-Technische Bundesanstalt (PTB). The software is made available"]
[null,null,"“as is“ free of cost at your own risk. PTB assumes no responsibility whatsoever for its use by other parties,"]
[null,null,"and makes no guarantees, expressed or implied, about its quality, reliability, safety, suitability or any other"]
[null,null,"characteristic. As far as legally permitted PTB refuses any liability for any direct, indirect or consequential"]
[null,null,"damage arising in connection with the use of this software."]
[]
[null,null,"-->"]
[]
[null,null,"dcc:administrativeData"]
[null,null,"dcc:measurementResults"]
[null,null,"dcc:comment"]
[null,null,"dcc:document"]
[null,"</dcc:digitalCalibrationCertificate>"]
[]
["RESET"]

{"sheet":"DCC Elements","index":2,"n_rows":442,"n_cols":4,"rows_kept":442,"cut":false,"hidden":true,"merged":[]}
[null,"Elements"]
[]
[null,"dcc:administrativeData","type","attributes"]
[null,"dcc:dccSoftware","dcc:softwareListType"]
[null,"dcc:coreData","dcc:coreDataType"]
[null,"dcc:items","dcc:itemListType"]
[null,"dcc:calibrationLaboratory","dcc:calibrationLaboratoryType"]
[null,"dcc:respPersons","dcc:respPersonListType"]
[null,"dcc:customer","dcc:contactType"]
[null,"dcc:statements","dcc:statementListType"]
[]
[null,"dcc:byteData","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType"]
[null,"dcc:fileName","xs:string"]
[null,"dcc:mimeType","xs:string"]
[null,"dcc:dataBase64","xs:base64Binary"]
[]
[null,"dcc:calibrationLaboratory","type","attributes"]
[null,"dcc:calibrationLaboratoryCode","xs:string"]
[null,"dcc:contact","dcc:contactType"]
[]
[null,"dcc:condition","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType","refType"]
[null,"dcc:status","xs:enumeration values=\"beforeAdjustment|afterAdjustment|beforeRepair|afterRepair\""]
[null,"dcc:data","dcc:dataType"]
[]
[null,"dcc:contactNotStrict","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:eMail","xs:string","refId"]
[null,"dcc:phone","xs:string","refType"]
[null,"dcc:fax","xs:string"]
[null,"dcc:location","dcc:locationType"]
[null,"dcc:descriptionData","dcc:byteDataType"]
[]
[null,"dcc:contact","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:eMail","xs:string"]
[null,"dcc:phone","xs:string"]
[null,"dcc:fax","xs:string"]
[null,"dcc:location","dcc:locationType"]
[null,"dcc:descriptionData","dcc:byteDataType"]
[]
[null,"dcc:coreData","type","attributes"]
[null,"dcc:countryCodeISO3166_1","dcc:stringISO3166Type"]
[null,"dcc:usedLangCodeISO639_1","dcc:stringISO639Type"]
[null,"dcc:mandatoryLangCodeISO639_1","dcc:stringISO639Type"]
[null,"dcc:uniqueIdentifier","xs:string"]
[null,"dcc:identifications","dcc:identificationListType"]
[null,"dcc:receiptDate","xs:date"]
[null,"dcc:beginPerformanceDate","xs:date"]
[null,"dcc:endPerformanceDate","xs:date"]
[null,"dcc:performanceLocation","dcc:performanceLocationType"]
[null,"dcc:previousReport","dcc:hashType"]
[]
[null,"dcc:data","type","attributes"]
[null,"dcc:text","dcc:richContentType","id"]
[null,"dcc:formula","dcc:byteDataType","refId"]
[null,"dcc:byteData","dcc:byteDataType","refType"]
[null,"dcc:xml","dcc:xmlType"]
[null,"dcc:quantity","dcc:quantityType"]
[null,"dcc:list","dcc:byteDataType"]
[]
[null,"dcc:digitalCalibrationCertificate","type","attributes"]
[null,"dcc:administrativeData","dcc:administrativeDataType","schemaVersion"]
[null,"dcc:measurementResults","dcc:measurementResultListType"]
[null,"dcc:comment","##any"]
[null,"dcc:document","dcc:byteDataType"]
[]
[null,"dcc:equipmentClass","type","attributes"]
[null,"dcc:reference","xs:string","id"]
[null,"dcc:classID","xs:string"]
[]
[null,"dcc:formula","type","attributes"]
[null,"dcc:latex","xs:string","id"]
[null,"dcc:mathml","dcc:xmlType","refId"]
[null,null,null,"refType"]
[]
[null,"dcc:hash","type","attributes"]
[null,"dcc:referral","dcc:textContentType","id"]
[null,"dcc:referralID","xs:string"]
[null,"dcc:procedure","xs:string"]
[null,"dcc:value","xs:string"]
[null,"dcc:linkedReport","dcc:hashType"]
[]
[null,"dcc:identificationList","type","attributes"]
[null,"dcc:identification","dcc:identificationType"]
[]
[null,"dcc:identification","type","attributes"]
[null,"dcc:issuer","xs:enumeration values=\"manufacturer|calibrationLaboratory|customer|owner|other\"","id"]
[null,"dcc:value","xs:string","refType"]
[null,"dcc:name","dcc:textContentType"]
[]
[null,"dcc:influenceConditionList","type","attributes"]
[null,"dcc:influenceCondition","dcc:conditionType"]
[]
[null,"dcc:itemList","type","attributes"]
[null,"dcc:name","dcc:textContentType"]
[null,"dcc:equipmentClass","dcc:equipmentClassType"]
[null,"dcc:description","dcc:richContentType"]
[null,"dcc:owner","dcc:contactType"]
[null,"dcc:identifications","dcc:identificationListType"]
[null,"dcc:item","dcc:itemType"]
[]
[null,"dcc:item","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:equipmentClass","dcc:equipmentClassType"]
[null,"dcc:description","dcc:richContentType"]
[null,"dcc:manufacturer","dcc:contactNotStrictType"]
[null,"dcc:model","xs:string"]
[null,"dcc:identifications","dcc:identificationListType"]
[]
[null,"dcc:list","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType","refId"]
[null,"dcc:dateTime","xs:dateTime","refType"]
[null,"dcc:list","dcc:listType"]
[null,"dcc:quantity","dcc:quantityType"]
[null,"dcc:usedMethods","dcc:usedMethodListType"]
[null,"dcc:usedSoftware","dcc:softwareListType"]
[null,"dcc:measuringEquipments","dcc:measuringEquipmentListType"]
[null,"dcc:influenceConditions","dcc:influenceConditionListType"]
[null,"dcc:measurementMetaData","dcc:measurementMetaDataListType"]
[]
[null,"dcc:location","type","attributes"]
[null,"dcc:city","xs:string"]
[null,"dcc:countryCode","dcc:stringISO3166Type"]
[null,"dcc:postCode","xs:string"]
[null,"dcc:postOfficeBox","xs:string"]
[null,"dcc:state","xs:string"]
[null,"dcc:street","xs:string"]
[null,"dcc:streetNo","xs:string"]
[null,"dcc:further","dcc:richContentType"]
[null,"dcc:positionCoordinates","dcc:positionCoordinatesType"]
[]
[null,"dcc:measurementMetaDataList","type","attributes"]
[null,"dcc:metaData","dcc:statementMetaDataType"]
[]
[null,"dcc:measurementResultList","type","attributes"]
[null,"dcc:measurementResult","dcc:measurementResultType"]
[]
[null,"dcc:measurementResult","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType","refId"]
[null,"dcc:usedMethods","dcc:usedMethodListType","refType"]
[null,"dcc:usedSoftware","dcc:softwareListType"]
[null,"dcc:measuringEquipments","dcc:measuringEquipmentListType"]
[null,"dcc:influenceConditions","dcc:influenceConditionListType"]
[null,"dcc:results","dcc:resultListType"]
[null,"dcc:measurementMetaData","dcc:measurementMetaDataListType"]
[]
[null,"dcc:measuringEquipmentList","type","attributes"]
[null,"dcc:measuringEquipment","dcc:measuringEquipmentType"]
[]
[null,"dcc:measuringEquipment","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:equipmentClass","dcc:equipmentClassType","refType"]
[null,"dcc:description","dcc:richContentType"]
[null,"dcc:certificate","dcc:hashType"]
[null,"dcc:manufacturer","dcc:contactNotStrictType"]
[null,"dcc:model","xs:string"]
[null,"dcc:identifications","dcc:identificationListType"]
[]
[null,"dcc:performanceLocation","type","attributes"]
[null,"xs:enumeration values=\"laboratory|customer|laboratoryBranch|customerBranch|other\"",null,"id"]
[null,null,null,"refId"]
[null,null,null,"refType"]
[]
[null,"dcc:positionCoordinates","type","attributes"]
[null,"dcc:positionCoordinateSystem","xs:string","id"]
[null,"dcc:reference","xs:string","refId"]
[null,"dcc:declaration","dcc:richContentType","refType"]
[null,"dcc:positionCoordinate1","si:realQuantityType"]
[null,"dcc:positionCoordinate2","si:realQuantityType"]
[null,"dcc:positionCoordinate3","si:realQuantityType"]
[]
[null,"dcc:quantity","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType","refId"]
[null,"dcc:noQuantity","dcc:richContentType","refType"]
[null,"si:real","si:realQuantityType"]
[null,"si:list","si:listType"]
[null,"si:hybrid","si:hybridType"]
[null,"si:complex","si:complexQuantityType"]
[null,"si:constant","si:constantQuantityType"]
[null,"dcc:usedMethods","dcc:usedMethodListType"]
[null,"dcc:usedSoftware","dcc:softwareListType"]
[null,"dcc:measuringEquipments","dcc:measuringEquipmentListType"]
[null,"dcc:influenceConditions","dcc:influenceConditionListType"]
[null,"dcc:measurementMetaData","dcc:measurementMetaDataListType"]
[]
[null,"dcc:respPersonList","type","attributes"]
[null,"dcc:respPerson","dcc:respPersonType"]
[]
[null,"dcc:respPerson","type","attributes"]
[null,"dcc:person","dcc:contactNotStrictType","id"]
[null,"dcc:description","dcc:richContentType"]
[null,"dcc:role","xs:string"]
[null,"dcc:mainSigner","xs:boolean"]
[null,"dcc:cryptElectronicSeal","xs:boolean"]
[null,"dcc:cryptElectronicSignature","xs:boolean"]
[null,"dcc:cryptElectronicTimeStamp","xs:boolean"]
[]
[null,"dcc:resultList","type","attributes"]
[null,"dcc:result","dcc:resultType"]
[]
[null,"dcc:result","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType","refId"]
[null,"dcc:data","dcc:dataType","refType"]
[]
[null,"dcc:richContent","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:content","dcc:stringWithLangType","refId"]
[null,"dcc:file","dcc:byteDataType","refType"]
[null,"dcc:formula","dcc:formulaType"]
[]
[null,"dcc:softwareList","type","attributes"]
[null,"dcc:software","dcc:softwareType"]
[]
[null,"dcc:software","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:release","xs:string","refType"]
[null,"dcc:description","dcc:richContentType"]
[]
[null,"dcc:statementList","type","attributes"]
[null,"dcc:statement","dcc:statementMetaDataType"]
[]
[null,"dcc:statementMetaData","type","attributes"]
[null,"dcc:countryCodeISO3166_1","dcc:stringISO3166Type","id"]
[null,"dcc:convention","xs:string","refId"]
[null,"dcc:traceable","xs:boolean","refType"]
[null,"dcc:norm","xs:string"]
[null,"dcc:reference","xs:string"]
[null,"dcc:declaration","dcc:richContentType"]
[null,"dcc:valid","xs:boolean"]
[null,"dcc:date","xs:date"]
[null,"dcc:period","xs:duration"]
[null,"dcc:respAuthority","dcc:contactType"]
[null,"dcc:conformity","xs:enumeration values=\"pass|fail|conditionalPass|conditionalFail|noPass|noFail\""]
[null,"dcc:data","dcc:dataType"]
[]
[null,"dcc:stringWithLang","type","attributes"]
[null,"DATA xs:string",null,"id"]
[null,null,null,"lang"]
[null,null,null,"refId"]
[null,null,null,"refType"]
[]
[null,"dcc:textContent","type","attributes"]
[null,"dcc:content","dcc:stringWithLangType","id"]
[]
[null,"dcc:usedMethodList","type","attributes"]
[null,"dcc:usedMethod","dcc:usedMethodType"]
[]
[null,"dcc:usedMethod","type","attributes"]
[null,"dcc:name","dcc:textContentType","id"]
[null,"dcc:description","dcc:richContentType","refType"]
[null,"dcc:norm","xs:string"]
[]
[null,"dcc:xml","type","attributes"]
[null,"##other",null,"id"]
[null,null,null,"refId"]
[null,null,null,"refType"]
[]
[null,"si:complexInList","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:valueReal","si:decimalType"]
[null,"si:valueImag","si:decimalType"]
[null,"si:unit","si:unitType"]
[null,"si:valueMagnitude","si:decimalType"]
[null,"si:valuePhase","si:decimalType"]
[null,"si:unit","si:unitType"]
[null,"si:unitPhase","si:unitPhaseType"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:ellipsoidalRegion","si:ellipsoidalRegionType"]
[null,"si:rectangularRegion","si:rectangularRegionType"]
[]
[null,"si:complexList","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:listUnit","si:unitType"]
[null,"si:listUnitPhase","xs:string"]
[null,"si:listBivariateUnc","si:listBivariateUncType"]
[null,"si:complex","si:complexInListType"]
[null,"si:ellipsoidalRegion","si:ellipsoidalRegionType"]
[null,"si:rectangularRegion","si:rectangularRegionType"]
[]
[null,"si:complexQuantity","type","attributes"]
[null,"si:label","xs:string"]
[null,"no:realImag","no:realImagType"]
[null,"no:magnitudePhase","no:magnitudePhaseType"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:ellipsoidalRegion","si:ellipsoidalRegionType"]
[null,"si:rectangularRegion","si:rectangularRegionType"]
[]
[null,"si:constantQuantity","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:value","si:decimalType"]
[null,"si:unit","si:unitType"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:uncertainty","si:uncertaintyValueType"]
[null,"si:distribution","xs:string"]
[]
[null,"si:covarianceMatrix","type","attributes"]
[null,"si:column","si:columnType"]
[]
[null,"si:coverageInterval","type","attributes"]
[null,"si:standardUnc","si:uncertaintyValueType"]
[null,"si:intervalMin","si:decimalType"]
[null,"si:intervalMax","si:decimalType"]
[null,"si:coverageProbability","si:probabilityValueType"]
[null,"si:distribution","xs:string"]
[]
[null,"si:ellipsoidalRegion","type","attributes"]
[null,"si:covarianceMatrix","si:covarianceMatrixType"]
[null,"si:coverageFactor","si:kValueType"]
[null,"si:coverageProbability","si:probabilityValueType"]
[null,"si:distribution","xs:string"]
[]
[null,"si:expandedUnc","type","attributes"]
[null,"si:uncertainty","si:uncertaintyValueType"]
[null,"si:coverageFactor","si:kValueType"]
[null,"si:coverageProbability","si:probabilityValueType"]
[null,"si:distribution","xs:string"]
[]
[null,"si:hybrid","type","attributes"]
[null,"si:real","si:realQuantityType"]
[null,"si:complex","si:complexQuantityType"]
[null,"si:list","si:listType"]
[null,"si:realList","si:realListType"]
[null,"si:complexList","si:complexListType"]
[null,"si:constant","si:constantQuantityType"]
[]
[null,"si:listBivariateUnc","type","attributes"]
[null,"si:ellipsoidalRegion","si:ellipsoidalRegionType"]
[null,"si:rectangularRegion","si:rectangularRegionType"]
[]
[null,"si:list","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:realList","si:realListType"]
[null,"si:complexList","si:complexListType"]
[null,"si:list","si:listType"]
[]
[null,"si:listUnivariateUnc","type","attributes"]
[null,"si:expandedUnc","si:expandedUncType"]
[null,"si:coverageInterval","si:coverageIntervalType"]
[]
[null,"si:realInList","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:value","si:decimalType"]
[null,"si:unit","si:unitType"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:expandedUnc","si:expandedUncType"]
[null,"si:coverageInterval","si:coverageIntervalType"]
[]
[null,"si:realList","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:listUnit","si:unitType"]
[null,"si:listUnivariateUnc","si:listUnivariateUncType"]
[null,"si:real","si:realInListType"]
[null,"si:ellipsoidalRegion","si:ellipsoidalRegionType"]
[null,"si:rectangularRegion","si:rectangularRegionType"]
[]
[null,"si:realQuantity","type","attributes"]
[null,"si:label","xs:string"]
[null,"si:value","si:decimalType"]
[null,"si:unit","si:unitType"]
[null,"si:dateTime","xs:dateTime"]
[null,"si:expandedUnc","si:expandedUncType"]
[null,"si:coverageInterval","si:coverageIntervalType"]
[]
[null,"si:rectangularRegion","type","attributes"]
[null,"si:covarianceMatrix","si:covarianceMatrixType"]
[null,"si:coverageFactor","si:kValueType"]
[null,"si:coverageProbability","si:probabilityValueType"]
[null,"si:distribution","xs:string"]
[]
[null,"si:column","type","attributes"]
[null,"si:covariance","si:covarianceType"]
[]
[null,"si:covariance","type","attributes"]
[null,"si:value","si:decimalType"]
[null,"si:unit","si:unitType"]
[]
[null,"xs:string","type","attributes"]
[null,"DATA xs:string"]
[]
[null,"xs:dateTime","type","attributes"]
[null,"DATA xs:dateTime"]
[]
[null,"xs:date","type","attributes"]
[null,"DATA xs:date"]
[]
[null,"xs:duration","type","attributes"]
[null,"DATA xs:duration"]
[]
[null,"xs:boolean","type","attributes"]
[null,"DATA xs:boolean"]
[]
[null,"xs:base64Binary","type","attributes"]
[null,"DATA xs:base64Binary"]
[]
[null,"xs:enumeration","type","attributes"]
[null,"DATA xs:enumeration"]
[]
[null,"dcc:stringISO3166Type","type","attributes"]
[null,"DATA dcc:stringISO3166"]
[]
[null,"dcc:stringISO639Type","type","attributes"]
[null,"DATA dcc:stringISO639"]
[]
[null,"si:decimalType","type","attributes"]
[null,"double"]
[]
[null,"si:unitType","type","attributes"]
[null,"string"]
[]
[null,"si:unitPhaseType","type","attributes"]
[null,"string"]
[]
[null,"si:kValueType","type","attributes"]
[null,"double"]
[]
[null,"si:probabilityValueType","type","attributes"]
[null,"double"]
[]
[null,"si:uncertaintyValueType","type","attributes"]
[null,"double"]
[]
[null,"no:realImagType","type","attributes"]
[null,"si:valueReal","si:decimalType"]
[null,"si:valueImag","si:decimalType"]
[null,"si:unit","si:unitType"]
[]
[null,"no:magnitudePhaseType","type","attributes"]
[null,"si:valueMagnitude","si:decimalType"]
[null,"si:valuePhase","si:decimalType"]
[null,"si:unit","si:unitType"]
[null,"si:unitPhase","si:unitPhaseType"]

{"sheet":"Table1","index":3,"n_rows":11,"n_cols":2,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[]
["Date",{"$f":"TODAY()","v":"2022-05-11"}]
[]
["Time",{"$f":"NOW()","v":44692.385412962962}]
[]
["Laboratory","PTB"]
[]
["Pi",{"$f":"PI()","v":3.1415926535897931}]
[]
["e",{"$f":"EXP(1)","v":2.7182818284590451}]

{"sheet":"Lists DCC","index":4,"n_rows":174,"n_cols":7,"rows_kept":174,"cut":false,"hidden":true,"merged":[]}
[{"$f":"\"Elements (\"&COUNTA(A2:A998)&\")\"","v":"Elements (173)"},"Element types","Occurs",{"$f":"\"Complex types (\"&COUNTA(D2:D998)&\")\"","v":"Complex types (41)"},{"$f":"\"Simple types (\"&COUNTA(E2:E998)&\")\"","v":"Simple types (4)"},"Element types",{"$f":"\"Attributes (\"&COUNTA(G2:G998)&\")\"","v":"Attributes (58)"}]
["dcc:administrativeDataType/dcc:dccSoftware","dcc:softwareListType","R","dcc:administrativeDataType","dcc:stringConformityStatementStatusType","xs:enumeration values=\"pass|fail|conditionalPass|conditionalFail|noPass|noFail\"","dcc:byteDataType/@id"]
["dcc:administrativeDataType/dcc:coreData","dcc:coreDataType","R","dcc:byteDataType","dcc:stringISO3166Type","xs:string","dcc:conditionType/@id"]
["dcc:administrativeDataType/dcc:items","dcc:itemListType","R","dcc:calibrationLaboratoryType","dcc:stringISO639Type","xs:string","dcc:conditionType/@refType"]
["dcc:administrativeDataType/dcc:calibrationLaboratory","dcc:calibrationLaboratoryType","R","dcc:conditionType","dcc:stringPerformanceLocationType","xs:enumeration values=\"laboratory|customer|laboratoryBranch|customerBranch|other\"","dcc:contactNotStrictType/@id"]
["dcc:administrativeDataType/dcc:respPersons","dcc:respPersonListType","R","dcc:contactNotStrictType",null,null,"dcc:contactNotStrictType/@refId"]
["dcc:administrativeDataType/dcc:customer","dcc:contactType","R","dcc:contactType",null,null,"dcc:contactNotStrictType/@refType"]
["dcc:administrativeDataType/dcc:statements","dcc:statementListType","O","dcc:coreDataType",null,null,"dcc:contactType/@id"]
["dcc:byteDataType/dcc:name","dcc:textContentType","O","dcc:dataType",null,null,"dcc:dataType/@id"]
["dcc:byteDataType/dcc:description","dcc:richContentType","O","dcc:digitalCalibrationCertificateType",null,null,"dcc:dataType/@refId"]
["dcc:byteDataType/dcc:fileName","xs:string","R","dcc:equipmentClassType",null,null,"dcc:dataType/@refType"]
["dcc:byteDataType/dcc:mimeType","xs:string","R","dcc:formulaType",null,null,"dcc:digitalCalibrationCertificateType/@schemaVersion"]
["dcc:byteDataType/dcc:dataBase64","xs:base64Binary","R","dcc:hashType",null,null,"dcc:equipmentClassType/@id"]
["dcc:calibrationLaboratoryType/dcc:calibrationLaboratoryCode","xs:string","O","dcc:identificationListType",null,null,"dcc:formulaType/@id"]
["dcc:calibrationLaboratoryType/dcc:contact","dcc:contactType","R","dcc:identificationType",null,null,"dcc:formulaType/@refId"]
["dcc:conditionType/dcc:name","dcc:textContentType","R","dcc:influenceConditionListType",null,null,"dcc:formulaType/@refType"]
["dcc:conditionType/dcc:description","dcc:richContentType","O","dcc:itemListType",null,null,"dcc:hashType/@id"]
["dcc:conditionType/dcc:status","xs:enumeration values=\"beforeAdjustment|afterAdjustment|beforeRepair|afterRepair\"","O","dcc:itemType",null,null,"dcc:identificationType/@id"]
["dcc:conditionType/dcc:data","dcc:dataType","R","dcc:listType",null,null,"dcc:identificationType/@refType"]
["dcc:contactNotStrictType/dcc:name","dcc:textContentType","R","dcc:locationType",null,null,"dcc:itemType/@id"]
["dcc:contactNotStrictType/dcc:eMail","xs:string","O","dcc:measurementMetaDataListType",null,null,"dcc:listType/@id"]
["dcc:contactNotStrictType/dcc:phone","xs:string","O","dcc:measurementResultListType",null,null,"dcc:listType/@refId"]
["dcc:contactNotStrictType/dcc:fax","xs:string","O","dcc:measurementResultType",null,null,"dcc:listType/@refType"]
["dcc:contactNotStrictType/dcc:location","dcc:locationType","O","dcc:measuringEquipmentListType",null,null,"dcc:measurementResultType/@id"]
["dcc:contactNotStrictType/dcc:descriptionData","dcc:byteDataType","O","dcc:measuringEquipmentType",null,null,"dcc:measurementResultType/@refId"]
["dcc:contactType/dcc:name","dcc:textContentType","R","dcc:performanceLocationType",null,null,"dcc:measurementResultType/@refType"]
["dcc:contactType/dcc:eMail","xs:string","R","dcc:positionCoordinatesType",null,null,"dcc:measuringEquipmentType/@id"]
["dcc:contactType/dcc:phone","xs:string","O","dcc:quantityType",null,null,"dcc:measuringEquipmentType/@refType"]
["dcc:contactType/dcc:fax","xs:string","O","dcc:respPersonListType",null,null,"dcc:performanceLocationType/@id"]
["dcc:contactType/dcc:location","dcc:locationType","R","dcc:respPersonType",null,null,"dcc:performanceLocationType/@refId"]
["dcc:contactType/dcc:descriptionData","dcc:byteDataType","O","dcc:resultListType",null,null,"dcc:performanceLocationType/@refType"]
["dcc:coreDataType/dcc:countryCodeISO3166_1","dcc:stringISO3166Type","R","dcc:resultType",null,null,"dcc:positionCoordinatesType/@id"]
["dcc:coreDataType/dcc:usedLangCodeISO639_1","dcc:stringISO639Type","A","dcc:richContentType",null,null,"dcc:positionCoordinatesType/@refId"]
["dcc:coreDataType/dcc:mandatoryLangCodeISO639_1","dcc:stringISO639Type","A","dcc:softwareListType",null,null,"dcc:positionCoordinatesType/@refType"]
["dcc:coreDataType/dcc:uniqueIdentifier","xs:string","R","dcc:softwareType",null,null,"dcc:quantityType/@id"]
["dcc:coreDataType/dcc:identifications","dcc:identificationListType","O","dcc:statementListType",null,null,"dcc:quantityType/@refId"]
["dcc:coreDataType/dcc:receiptDate","xs:date","O","dcc:statementMetaDataType",null,null,"dcc:quantityType/@refType"]
["dcc:coreDataType/dcc:beginPerformanceDate","xs:date","R","dcc:stringWithLangType",null,null,"dcc:respPersonType/@id"]
["dcc:coreDataType/dcc:endPerformanceDate","xs:date","R","dcc:textType",null,null,"dcc:resultType/@id"]
["dcc:coreDataType/dcc:performanceLocation","dcc:performanceLocationType","R","dcc:usedMethodListType",null,null,"dcc:resultType/@refId"]
["dcc:coreDataType/dcc:previousReport","dcc:hashType","O","dcc:usedMethodType",null,null,"dcc:resultType/@refType"]
["dcc:dataType/dcc:text","dcc:richContentType","OCn","dcc:xmlType",null,null,"dcc:richContentType/@id"]
["dcc:dataType/dcc:formula","dcc:byteDataType","OCn",null,null,null,"dcc:richContentType/@refId"]
["dcc:dataType/dcc:byteData","dcc:byteDataType","OCn",null,null,null,"dcc:richContentType/@refType"]
["dcc:dataType/dcc:xml","dcc:xmlType","OCn",null,null,null,"dcc:softwareType/@id"]
["dcc:dataType/dcc:quantity","dcc:quantityType","OCn",null,null,null,"dcc:softwareType/@refType"]
["dcc:dataType/dcc:list","dcc:byteDataType","OCn",null,null,null,"dcc:statementMetaDataType/@id"]
["dcc:digitalCalibrationCertificateType/dcc:administrativeData","dcc:administrativeDataType","R",null,null,null,"dcc:statementMetaDataType/@refId"]
["dcc:digitalCalibrationCertificateType/dcc:measurementResults","dcc:measurementResultListType","R",null,null,null,"dcc:statementMetaDataType/@refType"]
["dcc:digitalCalibrationCertificateType/dcc:comment","##any","O",null,null,null,"dcc:stringWithLangType/@id"]
["dcc:digitalCalibrationCertificateType/dcc:document","dcc:byteDataType","O",null,null,null,"dcc:stringWithLangType/@lang"]
["dcc:digitalCalibrationCertificate","dcc:digitalCalibrationCertificateType","R",null,null,null,"dcc:stringWithLangType/@refId"]
["dcc:equipmentClassType/dcc:reference","xs:string","R",null,null,null,"dcc:stringWithLangType/@refType"]
["dcc:equipmentClassType/dcc:classID","xs:string","R",null,null,null,"dcc:textType/@id"]
["dcc:formulaType/dcc:latex","xs:string","C1 ",null,null,null,"dcc:usedMethodType/@id"]
["dcc:formulaType/dcc:mathml","dcc:xmlType","C1 ",null,null,null,"dcc:usedMethodType/@refType"]
["dcc:hashType/dcc:referral","dcc:textContentType","R",null,null,null,"dcc:xmlType/@id"]
["dcc:hashType/dcc:referralID","xs:string","R",null,null,null,"dcc:xmlType/@refId"]
["dcc:hashType/dcc:procedure","xs:string","R",null,null,null,"dcc:xmlType/@refType"]
["dcc:hashType/dcc:value","xs:string","R"]
["dcc:hashType/dcc:linkedReport","dcc:hashType","O"]
["dcc:identificationListType/dcc:identification","dcc:identificationType","A"]
["dcc:identificationType/dcc:issuer","xs:enumeration values=\"manufacturer|calibrationLaboratory|customer|owner|other\"","R"]
["dcc:identificationType/dcc:value","xs:string","R"]
["dcc:identificationType/dcc:name","dcc:textContentType","O"]
["dcc:influenceConditionListType/dcc:influenceCondition","dcc:conditionType","A"]
["dcc:itemListType/dcc:name","dcc:textContentType","O"]
["dcc:itemListType/dcc:equipmentClass","dcc:equipmentClassType","O"]
["dcc:itemListType/dcc:description","dcc:richContentType","O"]
["dcc:itemListType/dcc:owner","dcc:contactType","O"]
["dcc:itemListType/dcc:identifications","dcc:identificationListType","O"]
["dcc:itemListType/dcc:item","dcc:itemType","A"]
["dcc:itemType/dcc:name","dcc:textContentType","R"]
["dcc:itemType/dcc:equipmentClass","dcc:equipmentClassType","O"]
["dcc:itemType/dcc:description","dcc:richContentType","O"]
["dcc:itemType/dcc:manufacturer","dcc:contactNotStrictType","R"]
["dcc:itemType/dcc:model","xs:string","O"]
["dcc:itemType/dcc:identifications","dcc:identificationListType","R"]
["dcc:listType/dcc:name","dcc:textContentType","O"]
["dcc:listType/dcc:description","dcc:richContentType","O"]
["dcc:listType/dcc:dateTime","xs:dateTime","O"]
["dcc:listType/dcc:list","dcc:listType","C1n"]
["dcc:listType/dcc:quantity","dcc:quantityType","C1n"]
["dcc:listType/dcc:usedMethods","dcc:usedMethodListType","O"]
["dcc:listType/dcc:usedSoftware","dcc:softwareListType","O"]
["dcc:listType/dcc:measuringEquipments","dcc:measuringEquipmentListType","O"]
["dcc:listType/dcc:influenceConditions","dcc:influenceConditionListType","O"]
["dcc:listType/dcc:measurementMetaData","dcc:measurementMetaDataListType","O"]
["dcc:locationType/dcc:city","xs:string","Cn"]
["dcc:locationType/dcc:countryCode","dcc:stringISO3166Type","Cn"]
["dcc:locationType/dcc:postCode","xs:string","Cn"]
["dcc:locationType/dcc:postOfficeBox","xs:string","Cn"]
["dcc:locationType/dcc:state","xs:string","Cn"]
["dcc:locationType/dcc:street","xs:string","Cn"]
["dcc:locationType/dcc:streetNo","xs:string","Cn"]
["dcc:locationType/dcc:further","dcc:richContentType","Cn"]
["dcc:locationType/dcc:positionCoordinates","dcc:positionCoordinatesType","O"]
["dcc:measurementMetaDataListType/dcc:metaData","dcc:statementMetaDataType","A"]
["dcc:measurementResultListType/dcc:measurementResult","dcc:measurementResultType","A"]
["dcc:measurementResultType/dcc:name","dcc:textContentType","R"]
["dcc:measurementResultType/dcc:description","dcc:richContentType","O"]
["dcc:measurementResultType/dcc:usedMethods","dcc:usedMethodListType","O"]
["dcc:measurementResultType/dcc:usedSoftware","dcc:softwareListType","O"]
["dcc:measurementResultType/dcc:measuringEquipments","dcc:measuringEquipmentListType","O"]
["dcc:measurementResultType/dcc:influenceConditions","dcc:influenceConditionListType","O"]
["dcc:measurementResultType/dcc:results","dcc:resultListType","R"]
["dcc:measurementResultType/dcc:measurementMetaData","dcc:measurementMetaDataListType","O"]
["dcc:measuringEquipmentListType/dcc:measuringEquipment","dcc:measuringEquipmentType","A"]
["dcc:measuringEquipmentType/dcc:name","dcc:textContentType","R"]
["dcc:measuringEquipmentType/dcc:equipmentClass","dcc:equipmentClassType","O"]
["dcc:measuringEquipmentType/dcc:description","dcc:richContentType","O"]
["dcc:measuringEquipmentType/dcc:certificate","dcc:hashType","O"]
["dcc:measuringEquipmentType/dcc:manufacturer","dcc:contactNotStrictType","O"]
["dcc:measuringEquipmentType/dcc:model","xs:string","O"]
["dcc:measuringEquipmentType/dcc:identifications","dcc:identificationListType","O"]
["dcc:positionCoordinatesType/dcc:positionCoordinateSystem","xs:string","R"]
["dcc:positionCoordinatesType/dcc:reference","xs:string","O"]
["dcc:positionCoordinatesType/dcc:declaration","dcc:richContentType","O"]
["dcc:positionCoordinatesType/dcc:positionCoordinate1","si:realQuantityType","R"]
["dcc:positionCoordinatesType/dcc:positionCoordinate2","si:realQuantityType","R"]
["dcc:positionCoordinatesType/dcc:positionCoordinate3","si:realQuantityType","O"]
["dcc:quantityType/dcc:name","dcc:textContentType","O"]
["dcc:quantityType/dcc:description","dcc:richContentType","O"]
["dcc:quantityType/dcc:noQuantity","dcc:richContentType","C1 "]
["dcc:quantityType/si:real","si:real","C1 "]
["dcc:quantityType/si:list","si:list","C1 "]
["dcc:quantityType/si:hybrid","si:hybrid","C1 "]
["dcc:quantityType/si:complex","si:complex","C1 "]
["dcc:quantityType/si:constant","si:constant","C1 "]
["dcc:quantityType/dcc:usedMethods","dcc:usedMethodListType","O"]
["dcc:quantityType/dcc:usedSoftware","dcc:softwareListType","O"]
["dcc:quantityType/dcc:measuringEquipments","dcc:measuringEquipmentListType","O"]
["dcc:quantityType/dcc:influenceConditions","dcc:influenceConditionListType","O"]
["dcc:quantityType/dcc:measurementMetaData","dcc:measurementMetaDataListType","O"]
["dcc:respPersonListType/dcc:respPerson","dcc:respPersonType","A"]
["dcc:respPersonType/dcc:person","dcc:contactNotStrictType","R"]
["dcc:respPersonType/dcc:description","dcc:richContentType","O"]
["dcc:respPersonType/dcc:role","xs:string","O"]
["dcc:respPersonType/dcc:mainSigner","xs:boolean","O"]
["dcc:respPersonType/dcc:cryptElectronicSeal","xs:boolean","O"]
["dcc:respPersonType/dcc:cryptElectronicSignature","xs:boolean","O"]
["dcc:respPersonType/dcc:cryptElectronicTimeStamp","xs:boolean","O"]
["dcc:resultListType/dcc:result","dcc:resultType","A"]
["dcc:resultType/dcc:name","dcc:textContentType","R"]
["dcc:resultType/dcc:description","dcc:richContentType","O"]
["dcc:resultType/dcc:data","dcc:dataType","R"]
["dcc:richContentType/dcc:name","dcc:textContentType","O"]
["dcc:richContentType/dcc:content","dcc:stringWithLangType","OCn"]
["dcc:richContentType/dcc:file","dcc:byteDataType","OCn"]
["dcc:richContentType/dcc:formula","dcc:formulaType","OCn"]
["dcc:softwareListType/dcc:software","dcc:softwareType","A"]
["dcc:softwareType/dcc:name","dcc:textContentType","R"]
["dcc:softwareType/dcc:release","xs:string","R"]
["dcc:softwareType/dcc:description","dcc:richContentType","O"]
["dcc:statementListType/dcc:statement","dcc:statementMetaDataType","A"]
["dcc:statementMetaDataType/dcc:countryCodeISO3166_1","dcc:stringISO3166Type","OCn"]
["dcc:statementMetaDataType/dcc:convention","xs:string","O"]
["dcc:statementMetaDataType/dcc:traceable","xs:boolean","O"]
["dcc:statementMetaDataType/dcc:norm","xs:string","O"]
["dcc:statementMetaDataType/dcc:reference","xs:string","O"]
["dcc:statementMetaDataType/dcc:declaration","dcc:richContentType","O"]
["dcc:statementMetaDataType/dcc:valid","xs:boolean","O"]
["dcc:statementMetaDataType/dcc:date","xs:date","O"]
["dcc:statementMetaDataType/dcc:period","xs:duration","O"]
["dcc:statementMetaDataType/dcc:respAuthority","dcc:contactType","O"]
["dcc:statementMetaDataType/dcc:conformity","xs:enumeration values=\"pass|fail|conditionalPass|conditionalFail|noPass|noFail\"","O"]
["dcc:statementMetaDataType/dcc:data","dcc:dataType","O"]
["dcc:textType/dcc:content","dcc:stringWithLangType","A"]
["dcc:usedMethodListType/dcc:usedMethod","dcc:usedMethodType","A"]
["dcc:usedMethodType/dcc:name","dcc:textContentType","R"]
["dcc:usedMethodType/dcc:description","dcc:richContentType","O"]
["dcc:usedMethodType/dcc:norm","xs:string","OCn "]
["dcc:stringISO3166Type","xs:string"]
["dcc:stringISO639Type","xs:string"]

{"sheet":"Lists SI","index":5,"n_rows":105,"n_cols":7,"rows_kept":105,"cut":false,"hidden":true,"merged":[]}
[{"$f":"\"Elements (\"&COUNTA(A2:A999)&\")\"","v":"Elements (104)"},"Element types","Occurs",{"$f":"\"Complex types (\"&COUNTA(D2:D999)&\")\"","v":"Complex types (16)"},{"$f":"\"Simple types (\"&COUNTA(E2:E999)&\")\"","v":"Simple types (6)"},"Element types",{"$f":"\"Attributes (\"&COUNTA(G2:G999)&\")\"","v":"Attributes (0)"}]
["si:complex","si:complexQuantityType","R","si:complexInListType","si:decimalType","xs:double"]
["si:complexInListType/si:label","xs:string","O","si:complexListType","si:kValueType","xs:double"]
["si:complexInListType/si:valueReal","si:decimalType","R","si:complexQuantityType","si:probabilityValueType","xs:double"]
["si:complexInListType/si:valueImag","si:decimalType","R","si:constantQuantityType","si:uncertaintyValueType","xs:double"]
["si:complexInListType/si:unit","si:unitType","O","si:covarianceMatrixType","si:unitPhaseType","xs:string"]
["si:complexInListType/si:valueMagnitude","si:decimalType","R","si:coverageIntervalType","si:unitType","xs:string"]
["si:complexInListType/si:valuePhase","si:decimalType","R","si:ellipsoidalRegionType"]
["si:complexInListType/si:unit","si:unitType","O","si:expandedUncType"]
["si:complexInListType/si:unitPhase","si:unitPhaseType","O","si:hybridType"]
["si:complexInListType/si:dateTime","xs:dateTime","O","si:listBivariateUncType"]
["si:complexInListType/si:ellipsoidalRegion","si:ellipsoidalRegionType","C1 ","si:listType"]
["si:complexInListType/si:rectangularRegion","si:rectangularRegionType","C1 ","si:listUnivariateUncType"]
["si:complexList","si:complexListType","R","si:realInListType"]
["si:complexListType/si:label","xs:string","O","si:realListType"]
["si:complexListType/si:dateTime","xs:dateTime","O","si:realQuantityType"]
["si:complexListType/si:listUnit","si:unitType","O","si:rectangularRegionType"]
["si:complexListType/si:listUnitPhase","xs:string","O"]
["si:complexListType/si:listBivariateUnc","si:listBivariateUncType","O"]
["si:complexListType/si:complex","si:complexInListType","A"]
["si:complexListType/si:ellipsoidalRegion","si:ellipsoidalRegionType","C1 "]
["si:complexListType/si:rectangularRegion","si:rectangularRegionType","C1 "]
["si:complexQuantityType/si:label","xs:string","O"]
["si:complexQuantityType/si:valueReal","si:decimalType","R"]
["si:complexQuantityType/si:valueImag","si:decimalType","R"]
["si:complexQuantityType/si:unit","si:unitType","R"]
["si:complexQuantityType/si:valueMagnitude","si:decimalType","R"]
["si:complexQuantityType/si:valuePhase","si:decimalType","R"]
["si:complexQuantityType/si:unit","si:unitType","R"]
["si:complexQuantityType/si:unitPhase","si:unitPhaseType","R"]
["si:complexQuantityType/si:dateTime","xs:dateTime","O"]
["si:complexQuantityType/si:ellipsoidalRegion","si:ellipsoidalRegionType","C1 "]
["si:complexQuantityType/si:rectangularRegion","si:rectangularRegionType","C1 "]
["si:constant","si:constantQuantityType","R"]
["si:constantQuantityType/si:label","xs:string","O"]
["si:constantQuantityType/si:value","si:decimalType","R"]
["si:constantQuantityType/si:unit","si:unitType","R"]
["si:constantQuantityType/si:dateTime","xs:dateTime","O"]
["si:constantQuantityType/si:uncertainty","si:uncertaintyValueType","O"]
["si:constantQuantityType/si:distribution","xs:string","O"]
["si:covarianceMatrix","si:covarianceMatrixType","R"]
["si:covarianceMatrixType/si:column","si:columnType","A"]
["si:column","si:covarianceType","A"]
["si:columnType/si:covariance","si:covarianceType","R"]
["si:covariance/si:value","si:decimalType","R"]
["si:covariance/si:unit","si:unitType","R"]
["si:coverageInterval","si:coverageIntervalType","R"]
["si:coverageIntervalType/si:standardUnc","si:uncertaintyValueType","R"]
["si:coverageIntervalType/si:intervalMin","si:decimalType","R"]
["si:coverageIntervalType/si:intervalMax","si:decimalType","R"]
["si:coverageIntervalType/si:coverageProbability","si:probabilityValueType","R"]
["si:coverageIntervalType/si:distribution","xs:string","O"]
["si:ellipsoidalRegion","si:ellipsoidalRegionType","R"]
["si:ellipsoidalRegionType/si:covarianceMatrix","si:covarianceMatrixType","R"]
["si:ellipsoidalRegionType/si:coverageFactor","si:kValueType","R"]
["si:ellipsoidalRegionType/si:coverageProbability","si:probabilityValueType","R"]
["si:ellipsoidalRegionType/si:distribution","xs:string","O"]
["si:expandedUnc","si:uncertaintyValueType","R"]
["si:expandedUncType/si:uncertainty","si:uncertaintyValueType","R"]
["si:expandedUncType/si:coverageFactor","si:kValueType","R"]
["si:expandedUncType/si:coverageProbability","si:probabilityValueType","R"]
["si:expandedUncType/si:distribution","xs:string","O"]
["si:hybrid","si:hybridType","R"]
["si:hybridType/si:real","si:realQuantityType","A"]
["si:hybridType/si:complex","si:complexQuantityType","A"]
["si:hybridType/si:list","si:listType","A"]
["si:hybridType/si:realList","si:realListType","A"]
["si:hybridType/si:complexList","si:complexListType","A"]
["si:hybridType/si:constant","si:constantQuantityType","A"]
["si:list","si:listType","R"]
["si:listBivariateUncType/si:ellipsoidalRegion","si:ellipsoidalRegionType","C1 "]
["si:listBivariateUncType/si:rectangularRegion","si:rectangularRegionType","C1 "]
["si:listType/si:label","xs:string","O"]
["si:listType/si:dateTime","xs:dateTime","O"]
["si:listType/si:realList","si:realListType","A"]
["si:listType/si:complexList","si:complexListType","A"]
["si:listType/si:list","si:listType","A"]
["si:listUnivariateUncType/si:expandedUnc","si:expandedUncType","C1 "]
["si:listUnivariateUncType/si:coverageInterval","si:coverageIntervalType","C1 "]
["si:real","si:realQuantityType","R"]
["si:realInListType/si:label","xs:string","O"]
["si:realInListType/si:value","si:decimalType","R"]
["si:realInListType/si:unit","si:unitType","O"]
["si:realInListType/si:dateTime","xs:dateTime","O"]
["si:realInListType/si:expandedUnc","si:expandedUncType","C1 "]
["si:realInListType/si:coverageInterval","si:coverageIntervalType","C1 "]
["si:realList","si:realListType","R"]
["si:realListType/si:label","xs:string","O"]
["si:realListType/si:dateTime","xs:dateTime","O"]
["si:realListType/si:listUnit","si:unitType","O"]
["si:realListType/si:listUnivariateUnc","si:listUnivariateUncType","O"]
["si:realListType/si:real","si:realInListType","A"]
["si:realListType/si:ellipsoidalRegion","si:ellipsoidalRegionType","C1 "]
["si:realListType/si:rectangularRegion","si:rectangularRegionType","C1 "]
["si:realQuantityType/si:label","xs:string","O"]
["si:realQuantityType/si:value","si:decimalType","R"]
["si:realQuantityType/si:unit","si:unitType","R"]
["si:realQuantityType/si:dateTime","xs:dateTime","O"]
["si:realQuantityType/si:expandedUnc","si:expandedUncType","C1 "]
["si:realQuantityType/si:coverageInterval","si:coverageIntervalType","C1 "]
["si:rectangularRegion","si:rectangularRegionType","R"]
["si:rectangularRegionType/si:covarianceMatrix","si:covarianceMatrixType","R"]
["si:rectangularRegionType/si:coverageFactor","si:kValueType","R"]
["si:rectangularRegionType/si:coverageProbability","si:probabilityValueType","R"]
["si:rectangularRegionType/si:distribution","xs:string","O"]