## Overview
Shapiro-Wilk test with Bonferroni correction
Testing the measurement deviations of a sample with n=330 items for violations of the Normal distribution at several verification points
developed for application in legal metrology, especially in the qualification procedure to verify utility meters by sampling according to section 35 of the Measures and Verification Ordinance in Germany (see publication and qualification procedure)
Copyright (C) 2019 Katy Klauenberg |  | version 1 (preliminary)
Disclaimer: This Excel application was developed at Physikalisch-Technische Bundesanstalt (PTB). The application is made available "as is" free of cost. PTB assumes no responsibility whatsoever for its use by other parties, and makes no guarantees, expressed or implied, about its quality, reliability, safety, suitability or any other characteristic. In no event will PTB be liable for any direct, indirect or consequential damage arising in connection with the use of this software.
Proceeding: | 1. Insert the number of verification points in cell B27
2. Insert the measurement deviations into columns B, C, … in the sheet "MeasurementDeviations"
3. Evaluate the sample: see cell B36
Extension to more than 2 verification points: |  | 1. Insert the number of verification points in cell B27
2. Insert the measurement deviations into columns B, C, … in the sheet "MeasurementDeviations"
3. Add one column for each additional verification point in the sheet "SortedMeasurementDeviations"
(this column includes the sorted measurement deviations, adjust the cell references)
4. Insert verification point(s) in rows 29-33 of this sheet (adjust cell references)
5. Extend the cell references for the evaluation in cell B36
Input
number of verification points | 2
Shapiro-Wilk test | verification point 1 | verification point 2
test statistic W | 0.98509 | 0.99292
critical value | 0.99134 | 0.99134
H0: N distribution | reject | accept
(reject when W<Wkrit)
Overall | reject
(accept, when all verification points are accepted)

## MeasurementDeviations
meter number | verification point 1 | verification point 2
1 | 0.95202 | -0.99509
2 | 0.36629 | -1.2844
3 | 1.5136 | 0.76616
4 | 0.23411 | -0.90699
5 | -0.43018 | -0.65492
6 | -1.7002 | 1.8379
7 | 0.94332 | 1.1032
8 | -1.2491 | -0.88666
9 | -0.8137 | 1.4045
10 | -0.70436 | -1.2328
11 | -0.91739 | -0.52989
12 | -0.64477 | 1.1109
13 | 0.90948 | 0.13869
14 | 0.85036 | 0.52068
15 | -0.66688 | 0.24361
16 | -0.14823 | 0.35779
17 | -1.8019 | -0.09779
18 | 0.16372 | -1.8025
19 | -1.0046 | 0.23394
20 | -0.82607 | 1.112
21 | -2.1841 | -0.57587
22 | -0.53119 | 0.76139
23 | -1.484 | 0.33555
24 | 0.48746 | 0.88423
25 | -0.65433 | 0.27274
26 | 1.1162 | -0.24961
27 | 1.2878 | -1.5427
28 | 1.0816 | 1.552
29 | -0.79623 | -2.0441
30 | -0.61433 | 0.213
31 | -0.59904 | 0.33985
32 | 0.67587 | 0.79694
33 | 1.6642 | -0.023488
34 | -0.16173 | 0.48966
35 | -1.5045 | -3.5981
36 | 1.4007 | -1.124
37 | 0.72275 | 0.57502
38 | 0.66785 | 0.46764
39 | 0.78325 | 1.7786
40 | -0.17567 | 0.054138
41 | -2.539 | 1.0182
42 | -1.6755 | 1.5226
43 | -0.51549 | -1.5088
44 | -1.0456 | -0.18493
45 | 0.54404 | 1.2113
46 | -0.19926 | 1.6853
47 | 1.3243 | -2.0979
48 | -0.56646 | -0.49623
49 | 1.7336 | 0.84204
50 | -0.63995 | -0.26563
51 | -0.49129 | -0.63227
52 | -0.22533 | -0.93974
53 | 2.6107 | 0.76187
54 | -0.52629 | -1.3408
55 | 2.3556 | -0.78888
56 | 1.4533 | 0.75895
57 | 0.40002 | 1.8525
58 | -0.033337 | 0.64364
59 | 0.37111 | -0.076528
60 | 2.2767 | 0.074289
61 | 0.61822 | -0.39798
62 | 1.475 | -0.45636
63 | 0.96793 | 1.1234
64 | 0.50066 | 0.43042
65 | -0.0030049 | -1.1028
66 | -1.2328 | 0.24645
67 | -0.30824 | -2.2788
68 | 0.22075 | -0.3881
69 | -1.7206 | -1.1947
70 | -0.11277 | -0.24397
71 | -0.38736 | -1.4831
72 | -0.50017 | -0.57522
73 | 0.21874 | 2.1525
74 | 0.11917 | 0.7812
75 | 0.7114 | -0.82888
76 | 0.56956 | 0.16327
77 | -0.84532 | 1.2543
78 | -1.0303 | -0.0081441
79 | -0.96764 | -2.7934
80 | -0.24813 | -0.31602
81 | 0.0019945 | 1.3602
82 | -0.51696 | 0.29774
83 | 1.7258 | 0.51988
84 | -0.46395 | 0.3233
85 | -0.14003 | -0.30132
86 | 0.85772 | -0.95001
87 | -0.593 | -0.82734
88 | -0.46229 | -0.76157
89 | -0.78315 | -0.83299
90 | 0.074555 | 1.35
91 | 2.3709 | 0.11851
92 | 0.39022 | 0.88652
93 | 0.92701 | 1.5978
94 | 1.3789 | -0.90532
95 | 0.42804 | 0.055557
96 | -0.1054 | -1.1748
97 | 0.94247 | -0.60342
98 | -2.6611 | 0.45505
99 | 2.4528 | 1.1888
100 | 0.6091 | 2.5379
101 | 0.53094 | -0.33396
102 | -1.5593 | -1.0503
103 | -0.5204 | -0.51963
104 | -1.1253 | 0.49146
105 | 0.42704 | 0.5041
106 | 1.3673 | 0.60147
107 | -0.016287 | -0.49103
108 | -1.1553 | 1.1249
109 | 0.83168 | 1.3016
110 | 0.63732 | 1.6082
111 | -0.24692 | -0.087615
112 | -0.75549 | 0.90428
113 | 1.5282 | -2.2987
114 | -1.1234 | -0.066332
115 | -0.65226 | 1.2543
116 | 0.50787 | -1.1282
117 | 0.25618 | -0.87128
118 | 0.071156 | -1.6869
119 | -1.1863 | 0.093317
120 | 0.54346 | 0.97058
121 | 0.0077794 | -0.2316
122 | -2.8229 | 0.59558
123 | 0.034467 | 0.098354
124 | -0.13699 | -0.065268
125 | 1.3498 | -1.172
126 | 1.812 | 0.93269
127 | 1.0022 | 1.1818
128 | 0.068423 | 1.5083
129 | 1.2253 | 0.1608
130 | 2.3925 | 0.94228
131 | 2.2312 | 0.60705
132 | -0.40155 | -0.80604
133 | -0.50434 | -0.093617
134 | -0.47715 | -0.56023
135 | 1.1967 | -0.96411
136 | -0.86382 | -2.0521
137 | -0.92581 | 0.034323
138 | 1.6453 | 0.40228
139 | 0.47201 | 1.0318
140 | -0.95464 | 0.065655
141 | 2.6366 | -0.49639
142 | -0.90084 | -1.0789
143 | 0.98161 | -0.85968
144 | 0.2546 | 0.46968
145 | -1.9085 | -0.57815
146 | 0.4979 | -0.73072
147 | 0.095324 | -0.46804
148 | -0.34851 | -0.62078
149 | -0.71487 | -0.29852
150 | -1.1784 | 1.3752
151 | 1.3883 | -1.2524
152 | -1.0672 | -0.67748
153 | -0.64731 | 1.1692
154 | -0.22847 | -0.37156
155 | 1.0245 | 0.91185
156 | -0.11606 | 1.0371
157 | -0.71336 | 0.40873
158 | -1.1026 | -0.71395
159 | 0.50988 | -0.7332
160 | -1.1367 | -0.65647
161 | 0.59447 | 1.9242
162 | -0.69598 | 0.80041
163 | -0.80534 | 0.39149
164 | 0.013041 | -2.0061
165 | -0.78156 | 1.6815
166 | -1.726 | -0.87638
167 | -0.21598 | -0.41033
168 | 0.96567 | 0.50554
169 | -1.0036 | 0.15566
170 | 1.0935 | -0.081628
171 | 0.29457 | -0.037549
172 | 1.7304 | -1.1714
173 | 0.94086 | -1.352
174 | -0.27979 | 1.0875
175 | -0.36069 | 0.79932
176 | 0.3144 | -0.11467
177 | -0.59606 | -0.0030498
178 | -0.13983 | 0.036188
179 | -2.2653 | 0.28443
180 | 2.0251 | -0.17108
181 | -0.29513 | 0.86415
182 | 0.17599 | 1.9732
183 | -0.99227 | 0.25519
184 | -1.5608 | 0.053554
185 | -1.4864 | 0.65318
186 | 0.70999 | 0.99254
187 | -0.082772 | -1.7468
188 | 0.79741 | -0.31567
189 | 0.47374 | 1.3228
190 | 1.0842 | 0.39852
191 | -0.30505 | 2.3664
192 | 0.88605 | -0.23917
193 | 3.319 | -0.06305
194 | -0.11369 | -0.5014
195 | -0.47535 | 0.67062
196 | 0.65992 | 1.2013
197 | 1.279 | -1.1671
198 | 0.46137 | 0.35692
199 | -0.41937 | 0.21742
200 | -1.5861 | -1.5245
201 | -0.043481 | -0.76289
202 | 0.62555 | 1.2802
203 | 1.4146 | -1.2624
204 | -1.2656 | -0.6835
205 | 2.0686 | 0.51528
206 | 1.1592 | 0.43021
207 | 1.7729 | -1.5889
208 | 0.095921 | -2.2471
209 | -2.1354 | 0.31845
210 | 0.99664 | -0.47536
211 | 0.2208 | -0.52765
212 | 0.083127 | 1.3761
213 | -0.38259 | -0.50259
214 | 0.057437 | -3.2022
215 | -0.0027898 | -0.54093
216 | 0.19872 | -0.86503
217 | -0.97395 | -0.16612
218 | -0.27731 | -0.13851
219 | 0.10863 | 0.062143
220 | -0.27014 | -0.56412
221 | 1.1647 | 0.39135
222 | 1.3882 | -0.5848
223 | 1.8142 | 0.17688
224 | 0.44798 | -1.0122
225 | -0.53705 | 1.8752
226 | -0.20017 | 2.3676
227 | 0.049854 | 0.0099938
228 | 1.4871 | -1.1375
229 | -0.1442 | 0.27637
230 | -0.29597 | 0.94017
231 | -0.51577 | 0.19097
232 | -0.7041 | 0.43995
233 | 0.53926 | -0.48048
234 | -0.30798 | -0.6374
235 | 1.8636 | -0.59301
236 | -0.3277 | -0.26524
237 | -0.18522 | 1.4434
238 | -0.8478 | 1.2449
239 | 3.045 | -0.27922
240 | 0.81087 | -0.63676
241 | -1.1742 | 3.9507
242 | -0.61413 | 0.18494
243 | -1.2698 | 0.35172
244 | 1.4329 | 0.25559
245 | -1.7443 | 0.65762
246 | -0.91404 | 0.48072
247 | -0.84834 | 1.0008
248 | 0.043483 | -1.1501
249 | -1.1701 | 1.1416
250 | -0.45593 | -0.50271
251 | 0.1281 | 1.5125
252 | 0.92609 | -1.2669
253 | 0.90335 | 0.059903
254 | -0.77074 | -0.45323
255 | -0.9393 | -0.88488
256 | -0.79271 | 0.24681
257 | -0.13068 | 1.6109
258 | 0.015672 | -0.067876
259 | -0.58362 | 0.14465
260 | 2.8423 | -1.2688
261 | 0.99888 | 0.50433
262 | 1.4832 | -0.049093
263 | -1.1115 | -0.50552
264 | -1.8836 | -0.24165
265 | 1.5302 | 0.79307
266 | -0.51104 | -1.3615
267 | 0.71979 | -1.1359
268 | -1.9823 | 1.1004
269 | -2.2488 | -0.37409
270 | -0.89614 | 1.4892
271 | 0.65023 | -0.27812
272 | -0.16298 | 2.0633
273 | 0.43434 | -0.95249
274 | -0.79119 | -0.94443
275 | 0.42446 | -0.39138
276 | -0.81085 | 1.0266
277 | -2.197 | -0.051512
278 | -0.092335 | 0.39687
279 | 1.4012 | -2.5722
280 | 1.0745 | -0.55967
281 | -0.32857 | -0.90135
282 | -0.54337 | 0.6693
283 | 0.83881 | 0.62675
284 | -0.5913 | 0.73207
285 | 0.84581 | 1.8464
286 | 0.36595 | 0.52611
287 | -1.2201 | -0.52944
288 | 1.4717 | 0.98371
289 | 0.76536 | -0.81172
290 | -0.085377 | 0.82055
291 | -0.5554 | -0.25055
292 | -0.74886 | -0.74378
293 | 0.059383 | -1.0438
294 | 0.51583 | 0.028523
295 | -1.1444 | -0.46343
296 | 2.9165 | 1.7557
297 | -0.992 | 2.088
298 | -0.22766 | -0.99007
299 | 0.85504 | -0.92893
300 | 1.7914 | 0.15352
301 | 0.52032 | -0.36804
302 | 1.7824 | 0.55017
303 | 0.80402 | 0.037088
304 | -1.4692 | -0.78291
305 | 0.52456 | -0.23598
306 | 1.0026 | 0.99304
307 | -1.3599 | -1.2452
308 | 0.12632 | -0.85311
309 | -1.3969 | 0.89176
310 | 0.89306 | -0.21147
311 | 0.46171 | -0.066549
312 | -0.3344 | -0.77647
313 | 0.97012 | 1.0146
314 | 0.65474 | 1.119
315 | -1.7355 | -2.7957
316 | 0.20618 | -0.73762
317 | -0.083448 | -0.36169
318 | -0.51626 | 0.20907
319 | 0.31823 | -0.43025
320 | -0.51502 | -0.35411
321 | 0.25219 | -0.73311
322 | -0.33186 | 1.2442
323 | -1.393 | -2.0374
324 | -1.76 | -0.20908
325 | -1.2778 | -0.46204
326 | 2.5818 | 0.035631
327 | -1.3188 | -0.19296
328 | -0.6038 | -0.20921
329 | -1.1449 | -0.68509
330 | 5.3228 | 0.13182

## CriticalValue
number of verification points P | critical value Wkrit
1 | 0.99257
2 | 0.99134
3 | 0.99061
4 | 0.9901
5 | 0.9897
6 | 0.98937
7 | 0.98909
8 | 0.98884
9 | 0.98863
10 | 0.98843
11 | 0.98826
12 | 0.9881
13 | 0.98795
14 | 0.98781
15 | 0.98768
16 | 0.98756
17 | 0.98745
18 | 0.98734
19 | 0.98724
20 | 0.98714
21 | 0.98705
22 | 0.98696
23 | 0.98688
24 | 0.9868
25 | 0.98672
26 | 0.98665
27 | 0.98657
28 | 0.9865
29 | 0.98644
30 | 0.98637
31 | 0.98631
32 | 0.98625
33 | 0.98619
34 | 0.98613
35 | 0.98608
36 | 0.98602
37 | 0.98597
38 | 0.98592
39 | 0.98587
40 | 0.98582
41 | 0.98577
42 | 0.98572
43 | 0.98568
44 | 0.98563
45 | 0.98559
46 | 0.98555
47 | 0.9855
48 | 0.98546
49 | 0.98542
50 | 0.98538

## Coefficients
coeffcients ai
1 | -0.17171
2 | -0.14413
3 | -0.13287
4 | -0.12626
5 | -0.12108
6 | -0.11678
7 | -0.1131
8 | -0.10987
9 | -0.10697
10 | -0.10434
11 | -0.10193
12 | -0.099703
13 | -0.097626
14 | -0.095679
15 | -0.093844
16 | -0.092108
17 | -0.090459
18 | -0.088887
19 | -0.087384
20 | -0.085943
21 | -0.084559
22 | -0.083227
23 | -0.081941
24 | -0.080699
25 | -0.079496
26 | -0.07833
27 | -0.077198
28 | -0.076097
29 | -0.075026
30 | -0.073983
31 | -0.072966
32 | -0.071973
33 | -0.071002
34 | -0.070054
35 | -0.069125
36 | -0.068216
37 | -0.067325
38 | -0.066451
39 | -0.065594
40 | -0.064752
41 | -0.063925
42 | -0.063113
43 | -0.062313
44 | -0.061527
45 | -0.060753
46 | -0.059991
47 | -0.05924
48 | -0.0585
49 | -0.05777
50 | -0.05705
51 | -0.05634
52 | -0.05564
53 | -0.054948
54 | -0.054264
55 | -0.053589
56 | -0.052922
57 | -0.052262
58 | -0.05161
59 | -0.050965
60 | -0.050327
61 | -0.049696
62 | -0.049071
63 | -0.048452
64 | -0.047839
65 | -0.047233
66 | -0.046632
67 | -0.046036
68 | -0.045446
69 | -0.044861
70 | -0.044281
71 | -0.043705
72 | -0.043135
73 | -0.042569
74 | -0.042007
75 | -0.04145
76 | -0.040897
77 | -0.040348
78 | -0.039804
79 | -0.039263
80 | -0.038725
81 | -0.038192
82 | -0.037662
83 | -0.037135
84 | -0.036612
85 | -0.036092
86 | -0.035575
87 | -0.035062
88 | -0.034551
89 | -0.034043
90 | -0.033539
91 | -0.033037
92 | -0.032537
93 | -0.032041
94 | -0.031547
95 | -0.031055
96 | -0.030566
97 | -0.03008
98 | -0.029595
99 | -0.029113
100 | -0.028634
101 | -0.028156
102 | -0.02768
103 | -0.027207
104 | -0.026736
105 | -0.026266
106 | -0.025798
107 | -0.025333
108 | -0.024869
109 | -0.024406
110 | -0.023946
111 | -0.023487
112 | -0.02303
113 | -0.022574
114 | -0.02212
115 | -0.021667
116 | -0.021216
117 | -0.020767
118 | -0.020318
119 | -0.019871
120 | -0.019426
121 | -0.018981
122 | -0.018538
123 | -0.018096
124 | -0.017655
125 | -0.017215
126 | -0.016777
127 | -0.016339
128 | -0.015903
129 | -0.015467
130 | -0.015032
131 | -0.014599
132 | -0.014166
133 | -0.013734
134 | -0.013303
135 | -0.012873
136 | -0.012443
137 | -0.012015
138 | -0.011587
139 | -0.01116
140 | -0.010733
141 | -0.010307
142 | -0.0098817
143 | -0.0094569
144 | -0.0090328
145 | -0.0086091
146 | -0.008186
147 | -0.0077633
148 | -0.0073411
149 | -0.0069193
150 | -0.006498
151 | -0.006077
152 | -0.0056564
153 | -0.0052361
154 | -0.0048161
155 | -0.0043963
156 | -0.0039769
157 | -0.0035576
158 | -0.0031386
159 | -0.0027198
160 | -0.0023011
161 | -0.0018825
162 | -0.0014641
163 | -0.0010457
164 | -0.0006274
165 | -0.00020913
166 | 0.00020913
167 | 0.0006274
168 | 0.0010457
169 | 0.0014641
170 | 0.0018825
171 | 0.0023011
172 | 0.0027198
173 | 0.0031386
174 | 0.0035576
175 | 0.0039769
176 | 0.0043963
177 | 0.0048161
178 | 0.0052361
179 | 0.0056564
180 | 0.006077
181 | 0.006498
182 | 0.0069193
183 | 0.0073411
184 | 0.0077633
185 | 0.008186
186 | 0.0086091
187 | 0.0090328
188 | 0.0094569
189 | 0.0098817
190 | 0.010307
191 | 0.010733
192 | 0.01116
193 | 0.011587
194 | 0.012015
195 | 0.012443
196 | 0.012873
197 | 0.013303
198 | 0.013734
199 | 0.014166
200 | 0.014599
201 | 0.015032
202 | 0.015467
203 | 0.015903
204 | 0.016339
205 | 0.016777
206 | 0.017215
207 | 0.017655
208 | 0.018096
209 | 0.018538
210 | 0.018981
211 | 0.019426
212 | 0.019871
213 | 0.020318
214 | 0.020767
215 | 0.021216
216 | 0.021667
217 | 0.02212
218 | 0.022574
219 | 0.02303
220 | 0.023487
221 | 0.023946
222 | 0.024406
223 | 0.024869
224 | 0.025333
225 | 0.025798
226 | 0.026266
227 | 0.026736
228 | 0.027207
229 | 0.02768
230 | 0.028156
231 | 0.028634
232 | 0.029113
233 | 0.029595
234 | 0.03008
235 | 0.030566
236 | 0.031055
237 | 0.031547
238 | 0.032041
239 | 0.032537
240 | 0.033037
241 | 0.033539
242 | 0.034043
243 | 0.034551
244 | 0.035062
245 | 0.035575
246 | 0.036092
247 | 0.036612
248 | 0.037135
249 | 0.037662
250 | 0.038192
251 | 0.038725
252 | 0.039263
253 | 0.039804
254 | 0.040348
255 | 0.040897
256 | 0.04145
257 | 0.042007
258 | 0.042569
259 | 0.043135
260 | 0.043705
261 | 0.044281
262 | 0.044861
263 | 0.045446
264 | 0.046036
265 | 0.046632
266 | 0.047233
267 | 0.047839
268 | 0.048452
269 | 0.049071
270 | 0.049696
271 | 0.050327
272 | 0.050965
273 | 0.05161
274 | 0.052262
275 | 0.052922
276 | 0.053589
277 | 0.054264
278 | 0.054948
279 | 0.05564
280 | 0.05634
281 | 0.05705
282 | 0.05777
283 | 0.0585
284 | 0.05924
285 | 0.059991
286 | 0.060753
287 | 0.061527
288 | 0.062313
289 | 0.063113
290 | 0.063925
291 | 0.064752
292 | 0.065594
293 | 0.066451
294 | 0.067325
295 | 0.068216
296 | 0.069125
297 | 0.070054
298 | 0.071002
299 | 0.071973
300 | 0.072966
301 | 0.073983
302 | 0.075026
303 | 0.076097
304 | 0.077198
305 | 0.07833
306 | 0.079496
307 | 0.080699
308 | 0.081941
309 | 0.083227
310 | 0.084559
311 | 0.085943
312 | 0.087384
313 | 0.088887
314 | 0.090459
315 | 0.092108
316 | 0.093844
317 | 0.095679
318 | 0.097626
319 | 0.099703
320 | 0.10193
321 | 0.10434
322 | 0.10697
323 | 0.10987
324 | 0.1131
325 | 0.11678
326 | 0.12108
327 | 0.12626
328 | 0.13287
329 | 0.14413
330 | 0.17171

## SortedMeasurementDeviations
index | verification point 1 | verification point 2
1 | -2.8229 | -3.5981
2 | -2.6611 | -3.2022
3 | -2.539 | -2.7957
4 | -2.2653 | -2.7934
5 | -2.2488 | -2.5722
6 | -2.197 | -2.2987
7 | -2.1841 | -2.2788
8 | -2.1354 | -2.2471
9 | -1.9823 | -2.0979
10 | -1.9085 | -2.0521
11 | -1.8836 | -2.0441
12 | -1.8019 | -2.0374
13 | -1.76 | -2.0061
14 | -1.7443 | -1.8025
15 | -1.7355 | -1.7468
16 | -1.726 | -1.6869
17 | -1.7206 | -1.5889
18 | -1.7002 | -1.5427
19 | -1.6755 | -1.5245
20 | -1.5861 | -1.5088
21 | -1.5608 | -1.4831
22 | -1.5593 | -1.3615
23 | -1.5045 | -1.352
24 | -1.4864 | -1.3408
25 | -1.484 | -1.2844
26 | -1.4692 | -1.2688
27 | -1.3969 | -1.2669
28 | -1.393 | -1.2624
29 | -1.3599 | -1.2524
30 | -1.3188 | -1.2452
31 | -1.2778 | -1.2328
32 | -1.2698 | -1.1947
33 | -1.2656 | -1.1748
34 | -1.2491 | -1.172
35 | -1.2328 | -1.1714
36 | -1.2201 | -1.1671
37 | -1.1863 | -1.1501
38 | -1.1784 | -1.1375
39 | -1.1742 | -1.1359
40 | -1.1701 | -1.1282
41 | -1.1553 | -1.124
42 | -1.1449 | -1.1028
43 | -1.1444 | -1.0789
44 | -1.1367 | -1.0503
45 | -1.1253 | -1.0438
46 | -1.1234 | -1.0122
47 | -1.1115 | -0.99509
48 | -1.1026 | -0.99007
49 | -1.0672 | -0.96411
50 | -1.0456 | -0.95249
51 | -1.0303 | -0.95001
52 | -1.0046 | -0.94443
53 | -1.0036 | -0.93974
54 | -0.99227 | -0.92893
55 | -0.992 | -0.90699
56 | -0.97395 | -0.90532
57 | -0.96764 | -0.90135
58 | -0.95464 | -0.88666
59 | -0.9393 | -0.88488
60 | -0.92581 | -0.87638
61 | -0.91739 | -0.87128
62 | -0.91404 | -0.86503
63 | -0.90084 | -0.85968
64 | -0.89614 | -0.85311
65 | -0.86382 | -0.83299
66 | -0.84834 | -0.82888
67 | -0.8478 | -0.82734
68 | -0.84532 | -0.81172
69 | -0.82607 | -0.80604
70 | -0.8137 | -0.78888
71 | -0.81085 | -0.78291
72 | -0.80534 | -0.77647
73 | -0.79623 | -0.76289
74 | -0.79271 | -0.76157
75 | -0.79119 | -0.74378
76 | -0.78315 | -0.73762
77 | -0.78156 | -0.7332
78 | -0.77074 | -0.73311
79 | -0.75549 | -0.73072
80 | -0.74886 | -0.71395
81 | -0.71487 | -0.68509
82 | -0.71336 | -0.6835
83 | -0.70436 | -0.67748
84 | -0.7041 | -0.65647
85 | -0.69598 | -0.65492
86 | -0.66688 | -0.6374
87 | -0.65433 | -0.63676
88 | -0.65226 | -0.63227
89 | -0.64731 | -0.62078
90 | -0.64477 | -0.60342
91 | -0.63995 | -0.59301
92 | -0.61433 | -0.5848
93 | -0.61413 | -0.57815
94 | -0.6038 | -0.57587
95 | -0.59904 | -0.57522
96 | -0.59606 | -0.56412
97 | -0.593 | -0.56023
98 | -0.5913 | -0.55967
99 | -0.58362 | -0.54093
100 | -0.56646 | -0.52989
101 | -0.5554 | -0.52944
102 | -0.54337 | -0.52765
103 | -0.53705 | -0.51963
104 | -0.53119 | -0.50552
105 | -0.52629 | -0.50271
106 | -0.5204 | -0.50259
107 | -0.51696 | -0.5014
108 | -0.51626 | -0.49639
109 | -0.51577 | -0.49623
110 | -0.51549 | -0.49103
111 | -0.51502 | -0.48048
112 | -0.51104 | -0.47536
113 | -0.50434 | -0.46804
114 | -0.50017 | -0.46343
115 | -0.49129 | -0.46204
116 | -0.47715 | -0.45636
117 | -0.47535 | -0.45323
118 | -0.46395 | -0.43025
119 | -0.46229 | -0.41033
120 | -0.45593 | -0.39798
121 | -0.43018 | -0.39138
122 | -0.41937 | -0.3881
123 | -0.40155 | -0.37409
124 | -0.38736 | -0.37156
125 | -0.38259 | -0.36804
126 | -0.36069 | -0.36169
127 | -0.34851 | -0.35411
128 | -0.3344 | -0.33396
129 | -0.33186 | -0.31602
130 | -0.32857 | -0.31567
131 | -0.3277 | -0.30132
132 | -0.30824 | -0.29852
133 | -0.30798 | -0.27922
134 | -0.30505 | -0.27812
135 | -0.29597 | -0.26563
136 | -0.29513 | -0.26524
137 | -0.27979 | -0.25055
138 | -0.27731 | -0.24961
139 | -0.27014 | -0.24397
140 | -0.24813 | -0.24165
141 | -0.24692 | -0.23917
142 | -0.22847 | -0.23598
143 | -0.22766 | -0.2316
144 | -0.22533 | -0.21147
145 | -0.21598 | -0.20921
146 | -0.20017 | -0.20908
147 | -0.19926 | -0.19296
148 | -0.18522 | -0.18493
149 | -0.17567 | -0.17108
150 | -0.16298 | -0.16612
151 | -0.16173 | -0.13851
152 | -0.14823 | -0.11467
153 | -0.1442 | -0.09779
154 | -0.14003 | -0.093617
155 | -0.13983 | -0.087615
156 | -0.13699 | -0.081628
157 | -0.13068 | -0.076528
158 | -0.11606 | -0.067876
159 | -0.11369 | -0.066549
160 | -0.11277 | -0.066332
161 | -0.1054 | -0.065268
162 | -0.092335 | -0.06305
163 | -0.085377 | -0.051512
164 | -0.083448 | -0.049093
165 | -0.082772 | -0.037549
166 | -0.043481 | -0.023488
167 | -0.033337 | -0.0081441
168 | -0.016287 | -0.0030498
169 | -0.0030049 | 0.0099938
170 | -0.0027898 | 0.028523
171 | 0.0019945 | 0.034323
172 | 0.0077794 | 0.035631
173 | 0.013041 | 0.036188
174 | 0.015672 | 0.037088
175 | 0.034467 | 0.053554
176 | 0.043483 | 0.054138
177 | 0.049854 | 0.055557
178 | 0.057437 | 0.059903
179 | 0.059383 | 0.062143
180 | 0.068423 | 0.065655
181 | 0.071156 | 0.074289
182 | 0.074555 | 0.093317
183 | 0.083127 | 0.098354
184 | 0.095324 | 0.11851
185 | 0.095921 | 0.13182
186 | 0.10863 | 0.13869
187 | 0.11917 | 0.14465
188 | 0.12632 | 0.15352
189 | 0.1281 | 0.15566
190 | 0.16372 | 0.1608
191 | 0.17599 | 0.16327
192 | 0.19872 | 0.17688
193 | 0.20618 | 0.18494
194 | 0.21874 | 0.19097
195 | 0.22075 | 0.20907
196 | 0.2208 | 0.213
197 | 0.23411 | 0.21742
198 | 0.25219 | 0.23394
199 | 0.2546 | 0.24361
200 | 0.25618 | 0.24645
201 | 0.29457 | 0.24681
202 | 0.3144 | 0.25519
203 | 0.31823 | 0.25559
204 | 0.36595 | 0.27274
205 | 0.36629 | 0.27637
206 | 0.37111 | 0.28443
207 | 0.39022 | 0.29774
208 | 0.40002 | 0.31845
209 | 0.42446 | 0.3233
210 | 0.42704 | 0.33555
211 | 0.42804 | 0.33985
212 | 0.43434 | 0.35172
213 | 0.44798 | 0.35692
214 | 0.46137 | 0.35779
215 | 0.46171 | 0.39135
216 | 0.47201 | 0.39149
217 | 0.47374 | 0.39687
218 | 0.48746 | 0.39852
219 | 0.4979 | 0.40228
220 | 0.50066 | 0.40873
221 | 0.50787 | 0.43021
222 | 0.50988 | 0.43042
223 | 0.51583 | 0.43995
224 | 0.52032 | 0.45505
225 | 0.52456 | 0.46764
226 | 0.53094 | 0.46968
227 | 0.53926 | 0.48072
228 | 0.54346 | 0.48966
229 | 0.54404 | 0.49146
230 | 0.56956 | 0.5041
231 | 0.59447 | 0.50433
232 | 0.6091 | 0.50554
233 | 0.61822 | 0.51528
234 | 0.62555 | 0.51988
235 | 0.63732 | 0.52068
236 | 0.65023 | 0.52611
237 | 0.65474 | 0.55017
238 | 0.65992 | 0.57502
239 | 0.66785 | 0.59558
240 | 0.67587 | 0.60147
241 | 0.70999 | 0.60705
242 | 0.7114 | 0.62675
243 | 0.71979 | 0.64364
244 | 0.72275 | 0.65318
245 | 0.76536 | 0.65762
246 | 0.78325 | 0.6693
247 | 0.79741 | 0.67062
248 | 0.80402 | 0.73207
249 | 0.81087 | 0.75895
250 | 0.83168 | 0.76139
251 | 0.83881 | 0.76187
252 | 0.84581 | 0.76616
253 | 0.85036 | 0.7812
254 | 0.85504 | 0.79307
255 | 0.85772 | 0.79694
256 | 0.88605 | 0.79932
257 | 0.89306 | 0.80041
258 | 0.90335 | 0.82055
259 | 0.90948 | 0.84204
260 | 0.92609 | 0.86415
261 | 0.92701 | 0.88423
262 | 0.94086 | 0.88652
263 | 0.94247 | 0.89176
264 | 0.94332 | 0.90428
265 | 0.95202 | 0.91185
266 | 0.96567 | 0.93269
267 | 0.96793 | 0.94017
268 | 0.97012 | 0.94228
269 | 0.98161 | 0.97058
270 | 0.99664 | 0.98371
271 | 0.99888 | 0.99254
272 | 1.0022 | 0.99304
273 | 1.0026 | 1.0008
274 | 1.0245 | 1.0146
275 | 1.0745 | 1.0182
276 | 1.0816 | 1.0266
277 | 1.0842 | 1.0318
278 | 1.0935 | 1.0371
279 | 1.1162 | 1.0875
280 | 1.1592 | 1.1004
281 | 1.1647 | 1.1032
282 | 1.1967 | 1.1109
283 | 1.2253 | 1.112
284 | 1.279 | 1.119
285 | 1.2878 | 1.1234
286 | 1.3243 | 1.1249
287 | 1.3498 | 1.1416
288 | 1.3673 | 1.1692
289 | 1.3789 | 1.1818
290 | 1.3882 | 1.1888
291 | 1.3883 | 1.2013
292 | 1.4007 | 1.2113
293 | 1.4012 | 1.2442
294 | 1.4146 | 1.2449
295 | 1.4329 | 1.2543
296 | 1.4533 | 1.2543
297 | 1.4717 | 1.2802
298 | 1.475 | 1.3016
299 | 1.4832 | 1.3228
300 | 1.4871 | 1.35
301 | 1.5136 | 1.3602
302 | 1.5282 | 1.3752
303 | 1.5302 | 1.3761
304 | 1.6453 | 1.4045
305 | 1.6642 | 1.4434
306 | 1.7258 | 1.4892
307 | 1.7304 | 1.5083
308 | 1.7336 | 1.5125
309 | 1.7729 | 1.5226
310 | 1.7824 | 1.552
311 | 1.7914 | 1.5978
312 | 1.812 | 1.6082
313 | 1.8142 | 1.6109
314 | 1.8636 | 1.6815
315 | 2.0251 | 1.6853
316 | 2.0686 | 1.7557
317 | 2.2312 | 1.7786
318 | 2.2767 | 1.8379
319 | 2.3556 | 1.8464
320 | 2.3709 | 1.8525
321 | 2.3925 | 1.8752
322 | 2.4528 | 1.9242
323 | 2.5818 | 1.9732
324 | 2.6107 | 2.0633
325 | 2.6366 | 2.088
326 | 2.8423 | 2.1525
327 | 2.9165 | 2.3664
328 | 3.045 | 2.3676
329 | 3.319 | 2.5379
330 | 5.3228 | 3.9507